## Sheet1
Weather MicroServer with BACnet Ethernet Interface
Device ID: 1 to 4194304
UDP Port: 47808
Line# does not correspond to instance number
Line # | Measurement | Description
1 | umtLastMeasTime | Time of last measurement
2 | umtWindSpeed | Wind speed
3 | umtAdjWindDir | Wind direction
4 | umtRelHumidity | Relative humidity
5 | umtRawBaromPress | Barometric pressure - unadjusted
6 | umtAdjBaromPress | Barometric pressure
7 | umtTrueNorthOffset | Electronic Compass wind direction offset/Heading
8 | umtTemp1 | Air temperature
9 | umtWindChill | Wind chill
10 | umtHeatIndex | Heat index
11 | umtDewPoint | Dew Point
12 | umtDensityAltitude | Density Altitude
13 | umt3SecRollAvgWindSpeed | 3-sec avg of wind speed
14 | umt3SecRollAvgWindDir | 3-sec avg of wind direction
15 | umt2MinRollAvgWindSpeed | 2-min avg of wind speed
16 | umt2MinRollAvgWindDir | 2-min avg of adjusted wind direction
17 | umt10MinRollAvgWindSpeed | 10-min avg of wind speed
18 | umt10MinRollAvgWindDir | 10-min avg of adjusted wind direction
19 | umt10MinWindGustDir | 10-min wind direction at max wind speed
20 | umt10MinWindGustSpeed | 10-min max wind speed
21 | umt10MinWindGustTime | Time of 10-min max wind speed
22 | umt60MinWindGustDir | 60-min wind direction at max wind speed
23 | umt60MinWindGustSpeed | 60-min max wind speed
24 | umt60MinWindGustTime | Gust time stamp during the last 60 min
25 | umtRainToday | Rain for the day
26 | umtRainThisWeek | Rain for the week
27 | umtRainThisMonth | Rain for the month
28 | umtRainThisYear | Rain for the year
29 | umtRainRate | Rain rate
30 | umtHailToday | Hail today
31 | umtHailRate | Hail rate
32 | umtWetBulbGlobeTemp | Wet bulb globe temperataure
33 | umtSaturatedVaporPressure | Saturated vapor pressure
34 | umtVaporPressure | Vapor pressure
35 | umtDryAirPressure | Dry air pressure
36 | umtDryAirDensity | Dry air density
37 | umtAbsoluteHumidity | Absolute humidity
38 | umtAirDensityRatio | Air density ratio
39 | umtAdjustedAltitude | Adjusted altitude
40 | umtSAECorrectionFactor | SAE correction factor
41 | umtWetAirDensity | Wet air density
42 | umtWetBulbTemp | Wet bulb temperature
43 | umtExtinctionCoefficient | Visibility extinction coefficient
44 | umtVisibility | Visibility in miles
45 | umtLux | Visibility sensor light meter reading
46 | umtDayNight | Visibility sensor day/night indicator
47 | umtWindSpeed_2 | Wind speed - 2nd sensor
48 | umtAdjWindDir_2 | Wind direction - 2nd sensor
49 | umt3SecRollAvgWindSpeed_2 | 3-sec avg of wind speed - 2nd sensor
50 | umt3SecRollAvgWindDir_2 | 3-sec avg of wind direction - 2nd sensor
51 | umt2MinRollAvgWindSpeed_2 | 2-min avg of wind speed - 2nd sensor
52 | umt2MinRollAvgWindDir_2 | 2-min avg of wind direction - 2nd sensor
53 | umt10MinRollAvgWindSpeed_2 | 10-min avg of wind speed - 2nd sensor
54 | umt10MinRollAvgWindDir_2 | 10-min avg of wind direction - 2nd sensor
55 | umt60MinWindGustDir_2 | 60-min wind direction at max wind speed - 2nd sensor
56 | umt60MinWindGustSpeed_2 | 60-min max wind speed - 2nd sensor
57 | umt60MinWindGustTime_2 | Gust time stamp during the last 60 min - 2nd sensor
58 | umt10MinWindGustDir_2 | 10-min wind direction at max wind speed - 2nd sensor
59 | umt10MinWindGustSpeed_2 | 10-min max wind speed - 2nd sensor
60 | umt10MinWindGustTime_2 | Gust time stamp during the last 10 min - 2nd sensor
61 | umtTemp2 | Temperature 2
62 | umtTemp3 | Temperature 3
63 | umtTemp4 | Temperature 4
64 | umtSolarRadiation | Solar Radiation
65 | umtSolarRadiation_2 | Solar Radiation 2
66 | umtSolarRadiation_3 | Solar Radiation 3
67 | umtSolarRadiation_4 | Solar Radiation 4
68 | umtRainLastHr | Rain Last Hour
69 | umtRainLastHr_2 | Rain Last Hour - 2nd sensor
70 | umtRainToday_2 | Rain for the day - 2nd sensor
71 | umtRainThisWeek_2 | Rain for the week - 2nd sensor
72 | umtRainThisMonth_2 | Rain for the month - 2nd sensor
73 | umtRainThisYear_2 | Rain for the year - 2nd sensor
74 | umtRainRate_2 | Rain rate - 2nd sensor
75 | umtPAR | PAR
76 | umtPAR_2 | PAR - 2nd sensor
77 | umtRelHumidity_2 | Relative Humidity - 2nd sensor
78 | umtRawBaromPress_2 | Raw Barometric Pressure - 2nd sensor
79 | umtPrecipType | Precipitation Type
80 | umtPressureTendency | Pressure Tendency
81 | umtSnowDepth | Snow Depth
82 | umtEvapotranspiration | Evapotranspiration
83 | umt2MinWindGustDir | 2-min wind direction at max wind speed
84 | umt2MinWindGustSpeed | 2-min max wind speed
85 | umt2MinWindGustTime | Gust time stamp during the last 2 min
86 | umt2MinWindGustDir_2 | 2-min wind direction at max wind speed - 2nd sensor
87 | umt2MinWindGustSpeed_2 | 2-min max wind speed - 2nd sensor
88 | umt2MinWindGustTime_2 | Gust time stamp during the last 2 min - 2nd sensor
89 | umtVolts | Raw voltage (0-5)
90 | umtVolts_2 | Raw voltage (0-5) – 2nd Sensor
91 | umtUVRadiation | UV Radiation
92 | umtUVRadiation_2 | UV Radiation – 2nd Sensor
93 | umtParticleConc | Particle Concentration
94 | umtWaterLevel | Water Level
95 | mtLongitude | Longitude
96 | mtLatitude | Latitude
97 | mtGpsElevation | GPS Elevation
98 | mtGpsSpeed | GPS Speed
99 | mtGpsHeading | GPS Heading
100 | mtCO2Concentration | CO2 Concentration
101 | umtEvaporatorEff | Evaporator Efficiency
102 | umtCompressorInletTemp | Compressor Inlet Temp
103 | umtPredictedGeneration | Predicted Generation
104 | umtCloudBase | Cloud Base (Height)
105 | umt1MinRollAvgWindSpeed | 1-min avg of wind speed
106 | umt1MinRollAvgWindDir | 1-min avg of wind direction
107 | umt1MinSustWindSpeed | 1-min sustained wind speed
108 | umt1MinLightningEventCount | 1-min Lightning Event Count
109 | umt30MinLightningEventCount | 30-min Lightning Event Count
110 | umtUVIndex | Ultraviolet Index